## Sheet1
Count | Voltage Regulator ID | From Bus ID | To Bus ID | Regulated Bus ID | Phase Type | Phasing | Phase Sense | KVA Rating | KV Rating | Target Voltage (120V base) | Bandwidth (120V base) | R-Setting Phase A | R-Setting Phase B | R-Setting Phase C | X-Setting Phase A | X-Setting Phase B | X-Setting Phase C | Primary Current Rating (A) | PT Ratio | No-Load Loss (kW) | Exciting Current (%)
1 | VR0001 | P00000001 | BUS-001 | RBUS-001 | 3PH | CAB | ABC | 825 | 13.8 | 119.6 | 3.6 | 3.5 | 7.1 | 5.3 | 11.9 | 9.3 | 12.8 | 185 | 2.2308 | 0.37 | 2.02
2 | VR0002 | P00000001-7 | BUS-002 | RBUS-002 | 3PH | CAB | ABC | 550 | 23 | 120.2 | 3.7 | 8 | 6.5 | 9.6 | 10.2 | 18.8 | 11.3 | 165 | 2.7584 | 1.11 | 1.26
3 | VR0003 | P00000001-7A | BUS-003 | RBUS-003 | 3PH | CBA | ABC | 275 | 34.5 | 118.7 | 3.6 | 1.6 | 7.4 | 4.3 | 17.7 | 9.5 | 11.9 | 155 | 2.6471 | 0.53 | 1.12
4 | VR0004 | P00000001-9 | BUS-004 | RBUS-004 | 3PH | CAB | ABC | 875 | 13.8 | 119 | 4 | 8 | 2.3 | 1.7 | 14.3 | 13.4 | 8.3 | 190 | 2.0296 | 0.25 | 2.19
5 | VR0005 | P00000001-17 | BUS-005 | RBUS-005 | 3PH | ACB | ABC | 850 | 7.2 | 120.5 | 1.1 | 4.1 | 2.9 | 8.5 | 11 | 9.2 | 18.1 | 120 | 2.6478 | 0.27 | 1.7
6 | VR0006 | P00000001-19 | BUS-006 | RBUS-006 | 3PH | CAB | ABC | 250 | 13.8 | 118.2 | 3.8 | 4.4 | 2.4 | 7.5 | 8 | 18.1 | 12.3 | 115 | 2.2748 | 1.47 | 1.17
7 | VR0007 | P00000001-19-10 | BUS-007 | RBUS-007 | 3PH | ABC | ABC | 275 | 7.2 | 121.4 | 3.8 | 6.3 | 5.1 | 9.6 | 18.7 | 11.6 | 18 | 185 | 2.4225 | 0.64 | 1.64
8 | VR0008 | P00000001-19-38 | BUS-008 | RBUS-008 | 3PH | CBA | ABC | 575 | 34.5 | 119.4 | 2 | 3.4 | 1.5 | 1.2 | 11.1 | 12.3 | 6.6 | 85 | 2.372 | 1.43 | 1.02
9 | VR0009 | P00000001-24 | BUS-009 | RBUS-009 | 3PH | CBA | CBA | 400 | 7.2 | 121.9 | 2.7 | 6.2 | 4.1 | 6.3 | 8.4 | 18.5 | 10.5 | 110 | 2.2232 | 0.76 | 1.06
10 | VR0010 | P0000000009 | BUS-010 | RBUS-010 | 3PH | ABC | CBA | 700 | 23 | 120.2 | 3.1 | 3.8 | 1.5 | 1.3 | 5.7 | 5.9 | 13.5 | 25 | 2.1018 | 1.03 | 1.8
11 | VR0011 | P0000000013 | BUS-011 | RBUS-011 | 3PH | BAC | ABC | 425 | 34.5 | 118.6 | 2.3 | 5.9 | 5.2 | 1.5 | 10 | 13.3 | 13.2 | 130 | 2.684 | 1.24 | 1.37
12 | VR0012 | P0000000015 | BUS-012 | RBUS-012 | 3PH | CAB | ABC | 625 | 34.5 | 120.9 | 1.2 | 7 | 4.4 | 4.4 | 14.5 | 17.1 | 18.7 | 120 | 2.6879 | 0.83 | 2.46
13 | VR0013 | P0000000016 | BUS-013 | RBUS-013 | 3PH | ACB | ABC | 350 | 34.5 | 119.7 | 3.3 | 6.2 | 8.7 | 8.6 | 9.8 | 9.3 | 5.7 | 200 | 2.5226 | 0.24 | 1.07
14 | VR0014 | P0000000016-13 | BUS-014 | RBUS-014 | 3PH | ACB | ABC | 850 | 23 | 120.6 | 3.8 | 4.7 | 7 | 9.6 | 7 | 7.1 | 13.3 | 60 | 2.4686 | 0.68 | 2.46
15 | VR0015 | P0000000025 | BUS-015 | RBUS-015 | 3PH | ABC | ABC | 350 | 13.8 | 121.1 | 3.6 | 2.9 | 2.7 | 2.7 | 16.9 | 9.4 | 12.8 | 140 | 2.218 | 0.54 | 0.71
16 | VR0016 | P0000000034 | BUS-016 | RBUS-016 | 3PH | ACB | ABC | 925 | 7.2 | 121.3 | 2.5 | 5.2 | 3.1 | 9.4 | 11.4 | 19.4 | 11 | 170 | 2.4509 | 0.56 | 1.73
17 | VR0017 | P000000034A | BUS-017 | RBUS-017 | 3PH | BAC | ABC | 650 | 23 | 121.9 | 3.9 | 8 | 1.6 | 6.3 | 14.8 | 5.3 | 12.1 | 120 | 2.9065 | 1.35 | 1.11
18 | VR0018 | P0000000034-7 | BUS-018 | RBUS-018 | 3PH | BAC | ABC | 775 | 7.2 | 119.2 | 2.2 | 7.8 | 1.9 | 8.1 | 17.3 | 19.4 | 13.5 | 95 | 2.2926 | 1.36 | 1.8
19 | VR0019 | P0000000034-7A | BUS-019 | RBUS-019 | 3PH | CAB | CBA | 525 | 23 | 121 | 1.5 | 10 | 7 | 3.5 | 17.8 | 11 | 17.8 | 130 | 2.8345 | 1.41 | 2.02
20 | VR0020 | P0000000034-9 | BUS-020 | RBUS-020 | 3PH | ACB | CBA | 700 | 13.8 | 121.7 | 2.2 | 6.4 | 1.9 | 7.6 | 8.7 | 17.1 | 10.9 | 80 | 2.6579 | 0.71 | 2.33
21 | VR0021 | P0000000034-9a | BUS-021 | RBUS-021 | 3PH | CAB | ABC | 800 | 23 | 119.2 | 3.3 | 2 | 5.3 | 3.2 | 6.6 | 18.2 | 13.3 | 175 | 2.5866 | 0.42 | 1.55
22 | VR0022 | P0000000034-18 | BUS-022 | RBUS-022 | 3PH | ACB | ABC | 275 | 7.2 | 119.6 | 3.4 | 3.6 | 7.9 | 3.3 | 18 | 6.9 | 18.2 | 150 | 2.0839 | 0.52 | 0.63
23 | VR0023 | P0000000034-29 | BUS-023 | RBUS-023 | 3PH | BCA | ABC | 325 | 34.5 | 119.2 | 2.1 | 8.1 | 7.6 | 6.3 | 6.3 | 9.9 | 12.7 | 180 | 2.9383 | 1.05 | 0.6
24 | VR0024 | P0000000038 | BUS-024 | RBUS-024 | 3PH | CAB | ABC | 375 | 13.8 | 118.4 | 3.5 | 5.5 | 7.6 | 9.8 | 6.8 | 14.2 | 14.9 | 190 | 2.8829 | 0.38 | 2.02
25 | VR0025 | P0000000044 | BUS-025 | RBUS-025 | 3PH | ABC | ABC | 325 | 23 | 119.5 | 3.9 | 7.8 | 10 | 8.5 | 11.6 | 12 | 15 | 30 | 2.5854 | 0.39 | 1.55
26 | VR0026 | P0000000044-29 | BUS-026 | RBUS-026 | 3PH | BAC | ABC | 475 | 7.2 | 119.6 | 2.9 | 5 | 1.4 | 1.1 | 15.7 | 12.5 | 9.9 | 150 | 2.4157 | 1.22 | 2.26
27 | VR0027 | P0000000044-64 | BUS-027 | RBUS-027 | 3PH | CAB | ABC | 350 | 34.5 | 119.2 | 3.2 | 7 | 9.1 | 8.7 | 8.4 | 5.3 | 13.7 | 125 | 2.6194 | 0.44 | 0.65
28 | VR0028 | P0000000045 | BUS-028 | RBUS-028 | 3PH | CBA | ABC | 425 | 13.8 | 121.9 | 1.5 | 8.4 | 3.6 | 3.9 | 19.4 | 18.9 | 19.9 | 45 | 2.205 | 1.08 | 0.75
29 | VR0029 | P0000000046 | BUS-029 | RBUS-029 | 3PH | ABC | ABC | 775 | 23 | 120 | 2.1 | 9.9 | 9.8 | 2.7 | 18.1 | 10.3 | 7.3 | 50 | 2.5548 | 0.98 | 1.35
30 | VR0030 | P0000000046-22 | BUS-030 | RBUS-030 | 3PH | BAC | ABC | 900 | 13.8 | 120.8 | 2 | 5.5 | 3.4 | 1.8 | 16.3 | 14.6 | 6.5 | 170 | 2.5604 | 1 | 0.83
31 | VR0031 | P0000000049 | BUS-031 | RBUS-031 | 3PH | CBA | ABC | 275 | 7.2 | 118.9 | 1.8 | 6 | 1.4 | 7.2 | 16.9 | 16.9 | 16.5 | 165 | 2.1093 | 0.69 | 1.46
32 | VR0032 | P0000000049A | BUS-032 | RBUS-032 | 3PH | CAB | ABC | 650 | 23 | 119.1 | 3.9 | 1.5 | 8.1 | 4 | 14 | 9.7 | 11.7 | 145 | 2.4325 | 1.06 | 1.92
33 | VR0033 | P0000000049-3 | BUS-033 | RBUS-033 | 3PH | ABC | ABC | 625 | 23 | 119.7 | 3.5 | 9.7 | 7.1 | 1.8 | 15.1 | 11.5 | 13.9 | 105 | 2.9242 | 1.2 | 1.28
34 | VR0034 | P0000000054 | BUS-034 | RBUS-034 | 3PH | BCA | ABC | 975 | 23 | 121 | 3.4 | 1.1 | 8.6 | 5.9 | 15.4 | 10.7 | 9.9 | 70 | 2.0827 | 1.25 | 1.97
35 | VR0035 | P000000054A | BUS-035 | RBUS-035 | 3PH | BAC | CBA | 275 | 23 | 118.6 | 1.5 | 3.3 | 4.6 | 9.5 | 19.2 | 8.2 | 16.4 | 105 | 2.8177 | 0.92 | 1.08
36 | VR0036 | P0000000054-20 | BUS-036 | RBUS-036 | 3PH | ACB | ABC | 300 | 7.2 | 120.8 | 1.8 | 2.9 | 2.5 | 6 | 13.4 | 11.7 | 5.6 | 80 | 2.9837 | 1.33 | 2.3
37 | VR0037 | P0000000065 | BUS-037 | RBUS-037 | 3PH | ABC | ABC | 575 | 13.8 | 121.4 | 2.6 | 9.2 | 8.7 | 2.2 | 11 | 14.7 | 18.3 | 70 | 2.5908 | 1.21 | 1.49
38 | VR0038 | P0000000072 | BUS-038 | RBUS-038 | 3PH | BCA | CBA | 475 | 7.2 | 120.9 | 1.5 | 4.5 | 2.1 | 5.9 | 15.3 | 7.4 | 7.4 | 115 | 2.5474 | 0.95 | 0.53
39 | VR0039 | P0000000072-7 | BUS-039 | RBUS-039 | 3PH | BAC | CBA | 325 | 23 | 120.2 | 2.8 | 6.6 | 1.3 | 7.3 | 10.6 | 11 | 14.5 | 40 | 2.0111 | 1.35 | 0.59
40 | VR0040 | P0000000073 | BUS-040 | RBUS-040 | 3PH | ACB | ABC | 725 | 7.2 | 118.4 | 1.3 | 2.7 | 3.9 | 7.8 | 10.9 | 13.8 | 13 | 195 | 2.484 | 0.85 | 2
41 | VR0041 | P0000000076 | BUS-041 | RBUS-041 | 3PH | BCA | CBA | 650 | 34.5 | 121.5 | 2.2 | 1.1 | 6.7 | 6.6 | 16.9 | 9.3 | 11 | 165 | 2.342 | 0.21 | 1.55
42 | VR0042 | P0000000090 | BUS-042 | RBUS-042 | 3PH | BAC | ABC | 300 | 23 | 119.5 | 3.9 | 3.4 | 5.7 | 3.2 | 18.9 | 14.3 | 19.5 | 120 | 2.9044 | 0.66 | 2.47
43 | VR0043 | P0000000091 | BUS-043 | RBUS-043 | 3PH | BAC | ABC | 875 | 23 | 120.2 | 3.2 | 6.1 | 4 | 5.1 | 11 | 14.4 | 8.8 | 30 | 2.5304 | 1.04 | 1.72
44 | VR0044 | P000000091A | BUS-044 | RBUS-044 | 3PH | BCA | ABC | 975 | 7.2 | 120.1 | 1.5 | 3.2 | 6.4 | 2 | 13 | 19.6 | 14.7 | 200 | 2.3002 | 0.69 | 1.69
45 | VR0045 | P000000091B | BUS-045 | RBUS-045 | 3PH | ACB | ABC | 875 | 13.8 | 121.6 | 2.2 | 4.9 | 4.8 | 6.5 | 18.3 | 18.8 | 8.6 | 30 | 2.4538 | 1.4 | 2.23
46 | VR0046 | P0000000092 | BUS-046 | RBUS-046 | 3PH | ACB | ABC | 275 | 13.8 | 121.6 | 1.9 | 3.2 | 8.5 | 6.4 | 9.6 | 8 | 10 | 170 | 2.5529 | 0.63 | 1.49
47 | VR0047 | P000000092A | BUS-047 | RBUS-047 | 3PH | ACB | ABC | 550 | 23 | 118.6 | 2.1 | 7.5 | 5.8 | 3.9 | 6 | 5.4 | 11.6 | 110 | 2.8018 | 0.71 | 2.25
48 | VR0048 | P000000092B | BUS-048 | RBUS-048 | 3PH | ACB | ABC | 875 | 7.2 | 121.6 | 4 | 5.9 | 1.8 | 4.1 | 9.6 | 11.6 | 17.5 | 85 | 2.8088 | 1.17 | 2.38
49 | VR0049 | P0000000092-2 | BUS-049 | RBUS-049 | 3PH | ABC | ABC | 450 | 13.8 | 120.9 | 2.6 | 7.6 | 8 | 7.7 | 8.9 | 14.5 | 10.6 | 145 | 2.0178 | 0.97 | 1.86
50 | VR0050 | P0000000092-5 | BUS-050 | RBUS-050 | 3PH | ACB | ABC | 750 | 7.2 | 119.5 | 3.1 | 2.2 | 1.6 | 5.2 | 18.1 | 13.7 | 14.2 | 100 | 2.823 | 1.45 | 1.23
51 | VR0051 | P0000000092-7 | BUS-051 | RBUS-051 | 3PH | ABC | ABC | 925 | 23 | 121 | 1.5 | 5.4 | 7.2 | 5.9 | 17.3 | 18.8 | 6.3 | 150 | 2.2995 | 1.19 | 0.9
52 | VR0052 | P0000000092-8 | BUS-052 | RBUS-052 | 3PH | BAC | CBA | 925 | 7.2 | 120.1 | 2.8 | 2.3 | 5.2 | 3.9 | 8.1 | 8.5 | 14.4 | 60 | 2.609 | 1.22 | 1.82
53 | VR0053 | P0000000092-9 | BUS-053 | RBUS-053 | 3PH | ABC | ABC | 350 | 13.8 | 121.3 | 2.7 | 2.7 | 3.7 | 9.5 | 7.2 | 5.4 | 16 | 185 | 2.1561 | 0.89 | 0.53
54 | VR0054 | P0000000093 | BUS-054 | RBUS-054 | 3PH | BAC | ABC | 725 | 34.5 | 121 | 1.2 | 6.3 | 5.4 | 3.9 | 19.5 | 13.4 | 17.1 | 145 | 2.9528 | 0.5 | 2.49
55 | VR0055 | P0000000094 | BUS-055 | RBUS-055 | 3PH | CAB | ABC | 800 | 7.2 | 120.6 | 2.8 | 5.6 | 5.5 | 4.5 | 13.8 | 12.9 | 10 | 130 | 2.6447 | 1.41 | 2.37
56 | VR0056 | P000000094A | BUS-056 | RBUS-056 | 3PH | CBA | CBA | 925 | 13.8 | 118.5 | 3.2 | 7.3 | 1.5 | 9.9 | 7 | 10.9 | 15 | 55 | 2.3786 | 1.17 | 1.13
57 | VR0057 | P000000094B | BUS-057 | RBUS-057 | 3PH | ABC | ABC | 750 | 34.5 | 118.6 | 1.7 | 7.2 | 1.8 | 3.2 | 15.7 | 17.7 | 16 | 60 | 2.656 | 0.49 | 1.99
58 | VR0058 | P000000094C | BUS-058 | RBUS-058 | 3PH | BCA | CBA | 775 | 23 | 119.1 | 3.4 | 1.2 | 9.9 | 8.1 | 18.3 | 6.2 | 17.4 | 165 | 2.8358 | 0.71 | 2.02
59 | VR0059 | P0000000095 | BUS-059 | RBUS-059 | 3PH | BAC | ABC | 900 | 13.8 | 119.7 | 3 | 8.6 | 1.5 | 3.4 | 14.5 | 10.8 | 14.4 | 25 | 2.7591 | 0.51 | 2.49
60 | VR0060 | P0000000095-7 | BUS-060 | RBUS-060 | 3PH | ABC | ABC | 900 | 23 | 120.3 | 2.2 | 3.4 | 6.5 | 8.8 | 19.6 | 10.5 | 12.4 | 55 | 2.0668 | 0.64 | 1.78
61 | VR0061 | P0000000099 | BUS-061 | RBUS-061 | 3PH | CAB | ABC | 900 | 13.8 | 121 | 2.7 | 3.4 | 1.7 | 7.3 | 12.6 | 14.6 | 8 | 120 | 2.1589 | 0.8 | 1.19
62 | VR0062 | P0000000100 | BUS-062 | RBUS-062 | 3PH | BAC | ABC | 975 | 7.2 | 119.7 | 1.7 | 4.3 | 9.1 | 6.9 | 12.5 | 13.3 | 18 | 90 | 2.6299 | 0.23 | 0.76
63 | VR0063 | P000000100A | BUS-063 | RBUS-063 | 3PH | ACB | CBA | 800 | 23 | 121.3 | 2.9 | 5 | 1.5 | 2.9 | 19.2 | 10.7 | 6.6 | 185 | 2.0065 | 1.13 | 0.93
64 | VR0064 | P000000100B | BUS-064 | RBUS-064 | 3PH | ABC | ABC | 850 | 34.5 | 120.3 | 3.2 | 2.3 | 8.7 | 1.3 | 15.6 | 11.8 | 6.9 | 110 | 2.6889 | 0.47 | 0.83
65 | VR0065 | P0000000100-1 | BUS-065 | RBUS-065 | 3PH | CAB | ABC | 625 | 13.8 | 120.3 | 2.7 | 3.8 | 6.8 | 6.7 | 9.1 | 9.7 | 6.6 | 175 | 2.5568 | 0.28 | 0.64
66 | VR0066 | P0000000100-2 | BUS-066 | RBUS-066 | 3PH | CBA | ABC | 475 | 23 | 121 | 4 | 3.8 | 6.3 | 1.5 | 6.6 | 18.7 | 15.5 | 85 | 2.0375 | 1.46 | 1.91
67 | VR0067 | P0000000100-6 | BUS-067 | RBUS-067 | 3PH | CBA | ABC | 650 | 13.8 | 119.6 | 3.3 | 2.3 | 7.3 | 4.4 | 8.5 | 5.7 | 15 | 125 | 2.6417 | 0.95 | 1.05
68 | VR0068 | P0000000100-6A | BUS-068 | RBUS-068 | 3PH | ACB | ABC | 950 | 34.5 | 118.2 | 2.5 | 6.3 | 4.1 | 5.6 | 19.9 | 18.3 | 19 | 180 | 2.8733 | 1.21 | 1.3
69 | VR0069 | P0000000100-7 | BUS-069 | RBUS-069 | 3PH | CBA | CBA | 325 | 23 | 120.3 | 2.1 | 2.2 | 4.4 | 1.7 | 13.1 | 17.9 | 16.2 | 105 | 2.5784 | 1.28 | 0.6
70 | VR0070 | P0000000100-13 | BUS-070 | RBUS-070 | 3PH | BCA | ABC | 400 | 23 | 122 | 1.3 | 6.3 | 6.7 | 3.2 | 14.1 | 19.6 | 16.5 | 40 | 2.0399 | 0.77 | 1.37
71 | VR0071 | P0000000100-13m | BUS-071 | RBUS-071 | 3PH | CBA | ABC | 750 | 23 | 120.5 | 1.4 | 8.5 | 3.9 | 7.7 | 11.4 | 13.7 | 18.7 | 50 | 2.9829 | 0.88 | 0.87
72 | VR0072 | P0000000100-13ag | BUS-072 | RBUS-072 | 3PH | BAC | ABC | 500 | 23 | 120.9 | 3.5 | 4.5 | 9.4 | 5.8 | 9.6 | 6.6 | 14.4 | 120 | 2.7381 | 0.45 | 1.2
73 | VR0073 | P0000000100-13ag6 | BUS-073 | RBUS-073 | 3PH | CAB | ABC | 275 | 34.5 | 119.7 | 1.8 | 5.4 | 9.2 | 4.4 | 16 | 10.4 | 12.2 | 130 | 2.6427 | 1.24 | 1.74
74 | VR0074 | P0000000100-13ar | BUS-074 | RBUS-074 | 3PH | BAC | ABC | 975 | 34.5 | 121.1 | 3.1 | 9 | 1.6 | 8.2 | 9.5 | 6.1 | 10.4 | 100 | 2.3532 | 0.86 | 0.68
75 | VR0075 | P0000000100-13ax | BUS-075 | RBUS-075 | 3PH | ABC | ABC | 350 | 7.2 | 119.6 | 2.3 | 1.9 | 9.5 | 1.1 | 11.7 | 15 | 12.2 | 150 | 2.1349 | 0.43 | 2.48
76 | VR0076 | P0000000100-13ax15 | BUS-076 | RBUS-076 | 3PH | ACB | ABC | 675 | 23 | 121.1 | 2.7 | 2.4 | 7.2 | 9 | 15.7 | 10 | 16.3 | 60 | 2.8959 | 0.22 | 1.8
77 | VR0077 | P0000000100-13bj | BUS-077 | RBUS-077 | 3PH | ACB | ABC | 775 | 7.2 | 118.2 | 1 | 5 | 5.5 | 5.4 | 11.7 | 12 | 8.8 | 85 | 2.3087 | 0.73 | 2.14
78 | VR0078 | P0000000100-16 | BUS-078 | RBUS-078 | 3PH | ABC | ABC | 625 | 7.2 | 121 | 1.2 | 8.2 | 5.1 | 3.7 | 10.3 | 10.1 | 15.5 | 150 | 2.6734 | 0.42 | 1.59
79 | VR0079 | P0000000100-20 | BUS-079 | RBUS-079 | 3PH | CBA | ABC | 450 | 13.8 | 118.6 | 1.3 | 4.5 | 5 | 3.2 | 5.1 | 10.7 | 15.2 | 120 | 2.5466 | 0.8 | 0.78
80 | VR0080 | P0000000100-28 | BUS-080 | RBUS-080 | 3PH | CBA | CBA | 350 | 23 | 120.6 | 2.9 | 10 | 7.2 | 1 | 8.2 | 13.9 | 8.4 | 180 | 2.1795 | 0.81 | 1.27
81 | VR0081 | P0000000100-30 | BUS-081 | RBUS-081 | 3PH | CBA | ABC | 550 | 7.2 | 118.6 | 2 | 6 | 1.3 | 5.7 | 13.1 | 11.4 | 6.3 | 135 | 2.2083 | 0.21 | 0.56
82 | VR0082 | P0000000100-30i | BUS-082 | RBUS-082 | 3PH | ACB | ABC | 325 | 13.8 | 121.5 | 1.7 | 4.4 | 4.4 | 2.9 | 9.9 | 19.1 | 10.9 | 160 | 2.915 | 0.56 | 2.12
83 | VR0083 | P0000000100-39 | BUS-083 | RBUS-083 | 3PH | ACB | ABC | 400 | 7.2 | 121 | 1.1 | 6.9 | 6.2 | 8 | 14.3 | 15 | 15.2 | 135 | 2.141 | 0.99 | 2.39
84 | VR0084 | P0000000100-39h | BUS-084 | RBUS-084 | 3PH | ABC | CBA | 950 | 13.8 | 121.8 | 3.2 | 10 | 2.7 | 4.7 | 7.5 | 16.1 | 9.5 | 150 | 2.923 | 0.42 | 1.03
85 | VR0085 | P0000000100-39X | BUS-085 | RBUS-085 | 3PH | BCA | ABC | 900 | 34.5 | 120.9 | 3 | 7.2 | 5.3 | 4.8 | 7.1 | 12.1 | 11.7 | 150 | 2.696 | 0.56 | 1.45
86 | VR0086 | P0000000100-42 | BUS-086 | RBUS-086 | 3PH | CBA | ABC | 275 | 23 | 121 | 1.9 | 9.2 | 3.3 | 4 | 14.6 | 15.2 | 5.8 | 70 | 2.7747 | 0.33 | 0.65
87 | VR0087 | P0000000100-43 | BUS-087 | RBUS-087 | 3PH | BAC | ABC | 850 | 34.5 | 121.9 | 1.6 | 8.1 | 2.2 | 1.6 | 13.7 | 18.3 | 16.2 | 80 | 2.3953 | 0.7 | 0.64
88 | VR0088 | P0000000100-50 | BUS-088 | RBUS-088 | 3PH | BCA | ABC | 425 | 23 | 120.1 | 2.7 | 6.9 | 9.4 | 3.9 | 19 | 10.9 | 12.5 | 130 | 2.5445 | 1.27 | 1.29
89 | VR0089 | P0000000100-55 | BUS-089 | RBUS-089 | 3PH | CBA | CBA | 875 | 13.8 | 121.4 | 3.9 | 5.5 | 9.5 | 9.4 | 12.2 | 8.7 | 12.1 | 135 | 2.595 | 1.28 | 1.45
90 | VR0090 | P0000000100-55-4 | BUS-090 | RBUS-090 | 3PH | CBA | ABC | 700 | 23 | 121.6 | 1.5 | 4.3 | 3 | 4.2 | 5.7 | 5.6 | 12.7 | 150 | 2.2959 | 0.75 | 1.47
91 | VR0091 | P0000000100-58 | BUS-091 | RBUS-091 | 3PH | BAC | ABC | 750 | 7.2 | 118.8 | 2.2 | 7.1 | 7.7 | 9.8 | 8.2 | 15.4 | 16.5 | 115 | 2.918 | 0.33 | 0.74
92 | VR0092 | P0000000100-66 | BUS-092 | RBUS-092 | 3PH | BCA | ABC | 625 | 34.5 | 121 | 2.5 | 5.2 | 8.1 | 9.6 | 8.9 | 12.3 | 5.6 | 35 | 2.229 | 0.81 | 2.32
93 | VR0093 | P0000000100-71 | BUS-093 | RBUS-093 | 3PH | CAB | ABC | 875 | 13.8 | 120.9 | 1.3 | 4.1 | 3 | 7.3 | 9.6 | 14.2 | 11.4 | 75 | 2.1175 | 1.49 | 1.47
94 | VR0094 | P0000000100-71-3 | BUS-094 | RBUS-094 | 3PH | CAB | ABC | 450 | 23 | 121.9 | 2.9 | 7.6 | 5.4 | 5.9 | 5.9 | 11.8 | 17.1 | 130 | 2.4023 | 1.33 | 0.83
95 | VR0095 | P0000000100-72 | BUS-095 | RBUS-095 | 3PH | BCA | CBA | 650 | 7.2 | 120.4 | 2.9 | 7 | 8 | 7 | 10 | 11.2 | 11.2 | 60 | 2.0692 | 0.44 | 1.86
96 | VR0096 | P0000000100-72M | BUS-096 | RBUS-096 | 3PH | BCA | ABC | 900 | 23 | 120.9 | 3.7 | 4.7 | 9.1 | 1.1 | 14 | 12.9 | 15.2 | 190 | 2.4091 | 1.48 | 1.66
97 | VR0097 | P0000000100-72Q | BUS-097 | RBUS-097 | 3PH | CAB | ABC | 275 | 23 | 118.9 | 3 | 5.9 | 9.4 | 8.8 | 17 | 15 | 19.1 | 85 | 2.4282 | 0.82 | 0.56
98 | VR0098 | P0000000100-72Q8 | BUS-098 | RBUS-098 | 3PH | CAB | ABC | 725 | 23 | 118.6 | 2.1 | 6.7 | 6.3 | 2.1 | 15 | 6.3 | 9.3 | 85 | 2.2917 | 0.49 | 1.3
99 | VR0099 | P0000000100-72Q8c | BUS-099 | RBUS-099 | 3PH | ABC | ABC | 575 | 34.5 | 119.2 | 3.2 | 6.2 | 6.7 | 2.9 | 7.2 | 12.5 | 15.9 | 35 | 2.362 | 0.65 | 0.94
100 | VR0100 | P0000000100-72Q12 | BUS-100 | RBUS-100 | 3PH | ACB | ABC | 725 | 7.2 | 119.9 | 1.5 | 4 | 1.9 | 4 | 6.9 | 11.5 | 14.5 | 100 | 2.616 | 1.07 | 0.63
101 | VR0101 | P0000000100-72Y | BUS-101 | RBUS-101 | 3PH | CAB | ABC | 900 | 7.2 | 121.8 | 2.9 | 2.4 | 1.2 | 5.7 | 17.3 | 7.7 | 18.9 | 140 | 2.651 | 1.1 | 1.84
102 | VR0102 | P0000000100-74 | BUS-102 | RBUS-102 | 3PH | ACB | ABC | 950 | 23 | 118.3 | 2.8 | 3.4 | 8.1 | 3 | 18.2 | 10.5 | 13.9 | 80 | 2.4759 | 0.27 | 2.16
103 | VR0103 | P0000000100-79 | BUS-103 | RBUS-103 | 3PH | ACB | ABC | 300 | 7.2 | 122 | 3.6 | 7.3 | 9.3 | 8.5 | 19.8 | 10 | 13.8 | 150 | 2.7028 | 0.7 | 2.38
104 | VR0104 | P0000000100-85 | BUS-104 | RBUS-104 | 3PH | BAC | ABC | 300 | 7.2 | 118.7 | 3.6 | 9.3 | 6.7 | 8.5 | 8.8 | 7.9 | 5.1 | 155 | 2.0432 | 0.68 | 1.89
105 | VR0105 | P0000000102 | BUS-105 | RBUS-105 | 3PH | CAB | ABC | 775 | 23 | 119.6 | 2.9 | 5.9 | 10 | 9.1 | 13.7 | 19.1 | 15.5 | 55 | 2.1984 | 0.38 | 0.66
106 | VR0106 | P0000000106 | BUS-106 | RBUS-106 | 3PH | CBA | ABC | 750 | 13.8 | 118.9 | 3.8 | 4.8 | 5.1 | 4.1 | 7.6 | 14.4 | 18.3 | 115 | 2.3274 | 0.85 | 1.33
107 | VR0107 | P000000106A | BUS-107 | RBUS-107 | 3PH | ACB | CBA | 800 | 13.8 | 119.4 | 2.7 | 6.4 | 9.9 | 5.5 | 19.3 | 5.3 | 9.6 | 55 | 2.7674 | 0.5 | 1.82
108 | VR0108 | P0000000106-1 | BUS-108 | RBUS-108 | 3PH | CAB | ABC | 850 | 23 | 121.3 | 3.2 | 8.9 | 3.2 | 6.6 | 14.2 | 12.9 | 16 | 25 | 2.8433 | 0.56 | 0.77
109 | VR0109 | P0000000106-2 | BUS-109 | RBUS-109 | 3PH | CAB | ABC | 500 | 13.8 | 119.4 | 3.5 | 4.6 | 5.9 | 5.2 | 12.9 | 14.3 | 19.7 | 125 | 2.4012 | 0.46 | 0.66
110 | VR0110 | P0000000108 | BUS-110 | RBUS-110 | 3PH | CBA | ABC | 925 | 13.8 | 121.1 | 3 | 3.1 | 3.5 | 2.9 | 6.2 | 13.6 | 16.9 | 85 | 2.2182 | 1.28 | 1.03
111 | VR0111 | P0000000108-4 | BUS-111 | RBUS-111 | 3PH | ACB | ABC | 925 | 7.2 | 120.3 | 3.2 | 6.3 | 7.4 | 7.1 | 8.5 | 15.8 | 10.3 | 140 | 2.1512 | 0.83 | 1.25
112 | VR0112 | P0000000108-4A | BUS-112 | RBUS-112 | 3PH | ACB | ABC | 850 | 34.5 | 118.8 | 2.1 | 4 | 8.5 | 6.4 | 8.5 | 17 | 16.4 | 35 | 2.211 | 0.48 | 2.03
113 | VR0113 | P0000000108-4b | BUS-113 | RBUS-113 | 3PH | CAB | ABC | 900 | 34.5 | 118.9 | 1.3 | 6.4 | 7.7 | 3.6 | 9.8 | 5.8 | 19.8 | 80 | 2.8882 | 1.05 | 2.04
114 | VR0114 | P0000000108-5 | BUS-114 | RBUS-114 | 3PH | BAC | ABC | 575 | 23 | 121.4 | 3.9 | 8.8 | 5 | 9.9 | 18.4 | 10.5 | 12.4 | 45 | 2.552 | 1.36 | 1.63
115 | VR0115 | P0000000108-7 | BUS-115 | RBUS-115 | 3PH | ABC | ABC | 350 | 7.2 | 119.3 | 3.3 | 3.6 | 3.4 | 7.1 | 13.1 | 10.1 | 8.1 | 120 | 2.7836 | 0.89 | 1.78
116 | VR0116 | P0000000108-7A | BUS-116 | RBUS-116 | 3PH | CBA | ABC | 525 | 23 | 121.3 | 2.5 | 8.7 | 1.3 | 3.1 | 11.7 | 19.6 | 16.2 | 105 | 2.3403 | 0.34 | 1.76
117 | VR0117 | P0000000108-8 | BUS-117 | RBUS-117 | 3PH | ACB | CBA | 650 | 34.5 | 121.4 | 2.8 | 1.4 | 3.8 | 2.5 | 12.5 | 17.2 | 13.4 | 65 | 2.651 | 0.35 | 2.48
118 | VR0118 | P0000000108-10 | BUS-118 | RBUS-118 | 3PH | ACB | ABC | 350 | 34.5 | 120 | 2.3 | 4.6 | 7.5 | 7.4 | 10.6 | 12.1 | 5.8 | 95 | 2.8906 | 0.73 | 1.75
119 | VR0119 | P0000000108-11 | BUS-119 | RBUS-119 | 3PH | ACB | ABC | 525 | 7.2 | 120.6 | 2.3 | 9.7 | 5 | 7 | 14.2 | 17.3 | 10.8 | 165 | 2.8744 | 1.45 | 1.99
120 | VR0120 | P0000000108-12 | BUS-120 | RBUS-120 | 3PH | CAB | ABC | 700 | 7.2 | 121.5 | 1.7 | 5.3 | 6.6 | 4.3 | 8.1 | 5.9 | 15.8 | 90 | 2.5988 | 0.54 | 0.78
121 | VR0121 | P0000000108-12b | BUS-121 | RBUS-121 | 3PH | ABC | CBA | 475 | 34.5 | 121.8 | 2.8 | 2.7 | 8.9 | 6.4 | 19.3 | 14.6 | 17.8 | 45 | 2.8989 | 1.37 | 1.16
122 | VR0122 | P0000000108-12f | BUS-122 | RBUS-122 | 3PH | BCA | ABC | 775 | 23 | 121.2 | 3.3 | 5.9 | 7.3 | 4.6 | 15 | 12.4 | 16.9 | 180 | 2.5907 | 1.24 | 2.42
123 | VR0123 | P0000000108-12h | BUS-123 | RBUS-123 | 3PH | CAB | CBA | 625 | 7.2 | 121.2 | 2.4 | 3.3 | 8.6 | 1.3 | 12.2 | 8.6 | 9 | 145 | 2.1752 | 1.21 | 1.97
124 | VR0124 | P0000000108-18 | BUS-124 | RBUS-124 | 3PH | ACB | ABC | 575 | 13.8 | 118.2 | 2.7 | 3.9 | 1.1 | 8.1 | 14.3 | 9.1 | 6.2 | 160 | 2.7759 | 1.19 | 0.59
125 | VR0125 | P0000000108-19 | BUS-125 | RBUS-125 | 3PH | BAC | ABC | 400 | 13.8 | 120.4 | 1 | 4.9 | 3.7 | 4.8 | 17.7 | 6.8 | 6.2 | 130 | 2.0601 | 1.11 | 1.69
126 | VR0126 | P0000000108-20 | BUS-126 | RBUS-126 | 3PH | ABC | ABC | 625 | 23 | 121.9 | 3.7 | 2.8 | 3.5 | 1.9 | 17.3 | 6.5 | 9 | 135 | 2.8118 | 0.33 | 0.62
127 | VR0127 | P0000000108-20C | BUS-127 | RBUS-127 | 3PH | BAC | ABC | 650 | 23 | 120 | 4 | 4.6 | 3.1 | 3.9 | 12.9 | 13.3 | 17.1 | 160 | 2.4177 | 1.33 | 2.39
128 | VR0128 | P0000000108-20O | BUS-128 | RBUS-128 | 3PH | BCA | ABC | 450 | 7.2 | 118.1 | 1.9 | 3.9 | 8 | 7.6 | 8.7 | 10.6 | 8.9 | 130 | 2.1125 | 0.27 | 1.31
129 | VR0129 | P0000000108-21 | BUS-129 | RBUS-129 | 3PH | BAC | ABC | 825 | 23 | 121.4 | 1.4 | 1.9 | 8.1 | 5.8 | 6.1 | 5.3 | 5.8 | 100 | 2.4588 | 1.11 | 1.02
130 | VR0130 | P0000000108-21b | BUS-130 | RBUS-130 | 3PH | CAB | ABC | 450 | 34.5 | 118.8 | 1.2 | 5.6 | 1.4 | 5.2 | 6.9 | 14.8 | 13.7 | 130 | 2.397 | 1.16 | 2.13
131 | VR0131 | P0000000108-24 | BUS-131 | RBUS-131 | 3PH | BAC | CBA | 325 | 34.5 | 120.4 | 3.6 | 6.3 | 4 | 7.7 | 18.6 | 13.5 | 7.9 | 45 | 2.6534 | 0.36 | 1.64
132 | VR0132 | P0000000108-24A | BUS-132 | RBUS-132 | 3PH | ABC | ABC | 325 | 34.5 | 118.8 | 1.7 | 9.5 | 9.1 | 8.2 | 6.6 | 11.7 | 5.7 | 140 | 2.9838 | 0.32 | 0.65
133 | VR0133 | P0000000108-24-1 | BUS-133 | RBUS-133 | 3PH | ABC | ABC | 875 | 34.5 | 120.9 | 1.3 | 4.1 | 3.4 | 1.9 | 16.2 | 14 | 9.5 | 155 | 2.7825 | 0.94 | 0.84
134 | VR0134 | P0000000108-30 | BUS-134 | RBUS-134 | 3PH | ABC | ABC | 400 | 13.8 | 120.1 | 3.2 | 3.1 | 4.3 | 9.4 | 6.9 | 10.9 | 6.6 | 165 | 2.9326 | 0.35 | 1.07
135 | VR0135 | P0000000108-33 | BUS-135 | RBUS-135 | 3PH | CAB | ABC | 325 | 7.2 | 120.2 | 3.4 | 5 | 1.3 | 1.5 | 9.1 | 15.3 | 6 | 165 | 2.2448 | 0.48 | 2.31
136 | VR0136 | P0000000108-45 | BUS-136 | RBUS-136 | 3PH | ACB | ABC | 675 | 34.5 | 121.6 | 1.6 | 7.5 | 4.6 | 3.3 | 8 | 15.7 | 6.6 | 200 | 2.283 | 1.14 | 2.45
137 | VR0137 | P0000000108-45H | BUS-137 | RBUS-137 | 3PH | CBA | ABC | 725 | 34.5 | 119.3 | 2.5 | 2 | 2.1 | 2.1 | 8.7 | 7.1 | 17.4 | 175 | 2.2667 | 0.79 | 0.77
138 | VR0138 | P0000000108-45A | BUS-138 | RBUS-138 | 3PH | ACB | ABC | 850 | 23 | 120.9 | 1.3 | 9.7 | 7.8 | 8.5 | 9.8 | 6.9 | 9.7 | 170 | 2.8817 | 1.46 | 1.21
139 | VR0139 | P0000000108-58 | BUS-139 | RBUS-139 | 3PH | ACB | ABC | 650 | 13.8 | 119.8 | 2.8 | 6.7 | 7 | 8.7 | 19.7 | 6.3 | 19.6 | 35 | 2.0877 | 1.09 | 1.42
140 | VR0140 | P0000000108-58M | BUS-140 | RBUS-140 | 3PH | ACB | ABC | 775 | 7.2 | 120.8 | 1.1 | 2.9 | 6.9 | 7.7 | 18.3 | 12.7 | 14.6 | 150 | 2.8509 | 1.12 | 1.54
141 | VR0141 | P0000000108-58R | BUS-141 | RBUS-141 | 3PH | BAC | ABC | 400 | 7.2 | 120.4 | 3 | 9.5 | 2.8 | 8 | 15.4 | 6.2 | 12.1 | 60 | 2.9642 | 1.14 | 1.97
142 | VR0142 | P0000000108-58R11 | BUS-142 | RBUS-142 | 3PH | BCA | ABC | 425 | 7.2 | 120.4 | 1.1 | 5.2 | 1.2 | 3.4 | 18.5 | 8.7 | 5.2 | 45 | 2.9944 | 0.48 | 1.11
143 | VR0143 | P0000000108-58AA | BUS-143 | RBUS-143 | 3PH | ACB | ABC | 600 | 34.5 | 118.5 | 4 | 4.6 | 4.5 | 6.6 | 10.3 | 18.7 | 13.6 | 45 | 2.4453 | 0.5 | 1.47
144 | VR0144 | P0000000108-58AN | BUS-144 | RBUS-144 | 3PH | CBA | ABC | 875 | 13.8 | 118.7 | 3.1 | 6.4 | 7 | 1.3 | 6.1 | 15.2 | 7.3 | 175 | 2.663 | 0.74 | 1.02
145 | VR0145 | P0000000108-58AN9 | BUS-145 | RBUS-145 | 3PH | ABC | ABC | 575 | 13.8 | 120.5 | 2.4 | 5.2 | 4.1 | 2.8 | 20 | 17 | 6.5 | 140 | 2.2379 | 0.24 | 2.06
146 | VR0146 | P0000000108-58AO | BUS-146 | RBUS-146 | 3PH | ABC | ABC | 425 | 13.8 | 119.8 | 2.3 | 7.3 | 4.8 | 8.2 | 12.3 | 7.4 | 17.4 | 175 | 2.3757 | 0.79 | 1.1
147 | VR0147 | P0000000108-58AO4 | BUS-147 | RBUS-147 | 3PH | CAB | ABC | 925 | 34.5 | 121.7 | 2.4 | 9.8 | 2.6 | 7.7 | 17.5 | 10 | 9.4 | 110 | 2.8711 | 1.37 | 1.08
148 | VR0148 | P0000000108-58AV | BUS-148 | RBUS-148 | 3PH | CAB | ABC | 325 | 13.8 | 120.4 | 1.8 | 4.9 | 3.5 | 8.2 | 5.7 | 6.6 | 9.4 | 140 | 2.3107 | 1.23 | 1.8
149 | VR0149 | P0000000108-59 | BUS-149 | RBUS-149 | 3PH | CBA | ABC | 600 | 34.5 | 118.7 | 3.9 | 1.5 | 2.1 | 1.1 | 14.3 | 12.8 | 16.3 | 55 | 2.2699 | 0.73 | 1.39
150 | VR0150 | P0000000108-59A | BUS-150 | RBUS-150 | 3PH | ABC | ABC | 475 | 23 | 119.8 | 3.1 | 9.5 | 1.1 | 1.7 | 5.6 | 12.6 | 8.1 | 30 | 2.5386 | 1.04 | 0.82
151 | VR0151 | P0000000108-59f | BUS-151 | RBUS-151 | 3PH | CBA | ABC | 525 | 13.8 | 119.2 | 3.8 | 3.5 | 10 | 1.6 | 5.7 | 17.8 | 15.4 | 85 | 2.0643 | 0.78 | 1.49
152 | VR0152 | P0000000108-59j | BUS-152 | RBUS-152 | 3PH | CBA | ABC | 375 | 13.8 | 121.4 | 1.3 | 3.9 | 3 | 3.9 | 13.8 | 14.8 | 6.7 | 165 | 2.9705 | 0.84 | 0.83
153 | VR0153 | P0000000108-59p | BUS-153 | RBUS-153 | 3PH | ABC | ABC | 700 | 13.8 | 119.5 | 1.5 | 3.2 | 5.3 | 6.7 | 15.5 | 16.5 | 16 | 140 | 2.2246 | 0.45 | 2.37
154 | VR0154 | P0000000108-60 | BUS-154 | RBUS-154 | 3PH | ABC | ABC | 875 | 13.8 | 119.1 | 3.1 | 7.8 | 2.5 | 9.1 | 5.4 | 18.1 | 19.8 | 35 | 2.0853 | 0.43 | 1.01
155 | VR0155 | P0000000108-63 | BUS-155 | RBUS-155 | 3PH | CAB | ABC | 250 | 13.8 | 121.9 | 3.8 | 2.1 | 6.4 | 5.7 | 12.6 | 13.5 | 15.5 | 40 | 2.9892 | 0.53 | 1.9
156 | VR0156 | P0000000110 | BUS-156 | RBUS-156 | 3PH | ACB | ABC | 975 | 34.5 | 121.7 | 2.3 | 3.7 | 8.9 | 6 | 8.1 | 17.3 | 9.1 | 75 | 2.893 | 0.51 | 1.76
157 | VR0157 | P0000000111 | BUS-157 | RBUS-157 | 3PH | ABC | ABC | 275 | 23 | 121.6 | 2.1 | 3.6 | 9.2 | 6.9 | 5.4 | 16 | 6.5 | 60 | 2.0638 | 1.23 | 1.15
158 | VR0158 | P000000111A | BUS-158 | RBUS-158 | 3PH | BAC | ABC | 325 | 23 | 120.9 | 4 | 1.9 | 2.9 | 4.1 | 15.1 | 18.7 | 13.5 | 185 | 2.5562 | 0.8 | 2.02
159 | VR0159 | P0000000112 | BUS-159 | RBUS-159 | 3PH | BCA | ABC | 400 | 13.8 | 120.8 | 1.5 | 8.4 | 5.4 | 2.8 | 15.6 | 10.9 | 19.6 | 45 | 2.5412 | 1.44 | 1.71
160 | VR0160 | P0000000113 | BUS-160 | RBUS-160 | 3PH | CBA | ABC | 825 | 7.2 | 121 | 3.2 | 6.4 | 3.7 | 4.5 | 6.3 | 17.5 | 6.2 | 175 | 2.8648 | 0.59 | 2.45
161 | VR0161 | P0000000115 | BUS-161 | RBUS-161 | 3PH | CBA | CBA | 925 | 23 | 119 | 1 | 5.5 | 7.4 | 8.6 | 6.7 | 5 | 15.3 | 60 | 2.7009 | 1.01 | 1.61
162 | VR0162 | P000000115A | BUS-162 | RBUS-162 | 3PH | BCA | ABC | 850 | 7.2 | 121.6 | 3.8 | 3.9 | 7.7 | 5.9 | 19.9 | 19.1 | 12.4 | 75 | 2.1497 | 0.63 | 2.37
163 | VR0163 | P000000115B | BUS-163 | RBUS-163 | 3PH | CBA | ABC | 625 | 34.5 | 118.6 | 2.4 | 6.5 | 5.5 | 2.1 | 16.6 | 19.8 | 15.1 | 105 | 2.4449 | 0.99 | 0.52
164 | VR0164 | P000000115C | BUS-164 | RBUS-164 | 3PH | ACB | ABC | 800 | 7.2 | 119.2 | 1.3 | 5.7 | 1.2 | 5.9 | 15 | 19.4 | 8.7 | 185 | 2.1701 | 0.56 | 1.07
165 | VR0165 | P0000000115-4 | BUS-165 | RBUS-165 | 3PH | BCA | ABC | 300 | 13.8 | 119.8 | 3.7 | 4.4 | 7 | 2.8 | 15.3 | 19.5 | 8.7 | 165 | 2.2643 | 0.49 | 1.82
166 | VR0166 | P0000000116 | BUS-166 | RBUS-166 | 3PH | CAB | CBA | 900 | 13.8 | 121.9 | 4 | 6.8 | 1.4 | 7.6 | 18.3 | 9.9 | 7.1 | 65 | 2.6739 | 1.48 | 1.92
167 | VR0167 | P0000000117 | BUS-167 | RBUS-167 | 3PH | ABC | ABC | 850 | 34.5 | 121.9 | 2.1 | 8.5 | 8.3 | 8.9 | 6.9 | 18.8 | 11.8 | 100 | 2.7532 | 0.89 | 1.98
168 | VR0168 | P000000117B | BUS-168 | RBUS-168 | 3PH | CAB | CBA | 400 | 7.2 | 118.7 | 2.4 | 3.9 | 4.5 | 1.1 | 7.4 | 5.1 | 12.3 | 95 | 2.4871 | 0.85 | 1.54
169 | VR0169 | P0000000119 | BUS-169 | RBUS-169 | 3PH | ACB | ABC | 775 | 13.8 | 120.7 | 3.1 | 5.8 | 3.2 | 6.5 | 18.8 | 11.5 | 13 | 195 | 2.2563 | 0.36 | 0.72
170 | VR0170 | P0000000119-3 | BUS-170 | RBUS-170 | 3PH | BAC | ABC | 775 | 23 | 119.4 | 1.3 | 8.7 | 5.5 | 3.1 | 17.5 | 10.5 | 13.2 | 195 | 2.3423 | 1.05 | 1.35
171 | VR0171 | P0000000121 | BUS-171 | RBUS-171 | 3PH | BCA | CBA | 725 | 7.2 | 120.3 | 1.7 | 4.1 | 2 | 2.9 | 5.7 | 10.3 | 5.6 | 75 | 2.3986 | 0.38 | 0.7
172 | VR0172 | P000000121A | BUS-172 | RBUS-172 | 3PH | ACB | ABC | 525 | 34.5 | 118.8 | 3.9 | 6.9 | 8.4 | 6.4 | 17.9 | 14.3 | 9.5 | 65 | 2.4498 | 1.07 | 0.91
173 | VR0173 | P0000000122 | BUS-173 | RBUS-173 | 3PH | BAC | ABC | 925 | 34.5 | 120.2 | 2.8 | 7.3 | 3.2 | 7.8 | 9.9 | 12.7 | 7.6 | 180 | 2.3523 | 1.34 | 0.96
174 | VR0174 | P000000122A | BUS-174 | RBUS-174 | 3PH | CBA | ABC | 650 | 7.2 | 120.9 | 3.2 | 1.8 | 2.6 | 8 | 6 | 9.6 | 10.9 | 65 | 2.1435 | 1.01 | 2.15
175 | VR0175 | P0000000122-3 | BUS-175 | RBUS-175 | 3PH | CBA | ABC | 525 | 23 | 119.3 | 1.4 | 3.8 | 2.8 | 3.9 | 14.9 | 7 | 13.4 | 150 | 2.562 | 1.42 | 2.22
176 | VR0176 | P0000000122-3b | BUS-176 | RBUS-176 | 3PH | CAB | ABC | 425 | 23 | 118.9 | 2.7 | 5.1 | 7.7 | 4.5 | 19.9 | 18.6 | 13.9 | 65 | 2.9125 | 0.54 | 0.64
177 | VR0177 | P0000000122-4 | BUS-177 | RBUS-177 | 3PH | ABC | ABC | 300 | 13.8 | 119 | 3.8 | 5.9 | 9.5 | 6.8 | 7.6 | 10 | 7.8 | 30 | 2.7882 | 1.23 | 1.65
178 | VR0178 | P0000000125 | BUS-178 | RBUS-178 | 3PH | BAC | CBA | 925 | 13.8 | 120.9 | 3.9 | 6.9 | 6.3 | 6.7 | 13.6 | 19.3 | 17.8 | 40 | 2.8157 | 1.35 | 0.69
179 | VR0179 | P000000125A | BUS-179 | RBUS-179 | 3PH | ABC | ABC | 650 | 23 | 119.9 | 3.4 | 3.9 | 5.9 | 7.6 | 11.2 | 10.1 | 13.3 | 150 | 2.5475 | 0.24 | 0.94
180 | VR0180 | P0000000126 | BUS-180 | RBUS-180 | 3PH | ABC | ABC | 775 | 13.8 | 121.1 | 1.2 | 6 | 9.9 | 1.3 | 5.2 | 18.1 | 17 | 45 | 2.7207 | 0.92 | 2.02
181 | VR0181 | P0000000126-2 | BUS-181 | RBUS-181 | 3PH | CAB | ABC | 775 | 34.5 | 119.5 | 3 | 9.4 | 4.5 | 9.7 | 6.8 | 19 | 15.9 | 175 | 2.2025 | 1.26 | 0.97
182 | VR0182 | P0000000126-6 | BUS-182 | RBUS-182 | 3PH | BAC | ABC | 925 | 7.2 | 119.4 | 1.7 | 1.9 | 7.1 | 5 | 19.8 | 10.9 | 10.3 | 95 | 2.1854 | 0.66 | 2.36
183 | VR0183 | P0000000126-8 | BUS-183 | RBUS-183 | 3PH | CBA | ABC | 975 | 34.5 | 121.1 | 3.7 | 6.3 | 1.5 | 6.2 | 8.5 | 9.2 | 6.4 | 140 | 2.8877 | 0.3 | 0.81
184 | VR0184 | P0000000126-8A | BUS-184 | RBUS-184 | 3PH | ACB | ABC | 425 | 23 | 120.8 | 2.5 | 2.3 | 8.3 | 4.3 | 8.1 | 19.3 | 16.6 | 105 | 2.3274 | 0.39 | 0.65
185 | VR0185 | P0000000126-8B | BUS-185 | RBUS-185 | 3PH | CAB | ABC | 825 | 7.2 | 118.4 | 2.6 | 4.7 | 3.2 | 8.8 | 19.6 | 16.7 | 7.6 | 175 | 2.9088 | 1.17 | 1.94
186 | VR0186 | P0000000126-8B1 | BUS-186 | RBUS-186 | 3PH | CAB | ABC | 350 | 23 | 121.7 | 2.9 | 2.4 | 7 | 5 | 18.3 | 7.8 | 17.5 | 45 | 2.3644 | 0.96 | 1.23
187 | VR0187 | P0000000126-8a | BUS-187 | RBUS-187 | 3PH | CBA | ABC | 850 | 23 | 120.5 | 2.6 | 6.8 | 3.2 | 7.9 | 7.6 | 8.5 | 10.5 | 175 | 2.7919 | 0.38 | 1.91
188 | VR0188 | P0000000126-8b | BUS-188 | RBUS-188 | 3PH | CAB | ABC | 425 | 7.2 | 118.2 | 4 | 2.1 | 1.9 | 7.9 | 5.1 | 8.5 | 11.3 | 35 | 2.3237 | 0.4 | 0.81
189 | VR0189 | P0000000126-10 | BUS-189 | RBUS-189 | 3PH | CAB | CBA | 300 | 7.2 | 118.6 | 3.1 | 2.4 | 7.1 | 9.5 | 17.8 | 18.5 | 19.3 | 95 | 2.3606 | 0.3 | 0.51
190 | VR0190 | P0000000126-12 | BUS-190 | RBUS-190 | 3PH | CAB | CBA | 425 | 23 | 119.2 | 1.2 | 9 | 9.6 | 7.2 | 18.5 | 9.3 | 16.4 | 165 | 2.0322 | 0.31 | 0.93
191 | VR0191 | P0000000128 | BUS-191 | RBUS-191 | 3PH | ACB | ABC | 550 | 7.2 | 119.9 | 2.5 | 4 | 4.3 | 9.1 | 7.8 | 15.4 | 5.4 | 170 | 2.8395 | 0.38 | 1.54
192 | VR0192 | P0000000128-4 | BUS-192 | RBUS-192 | 3PH | CBA | ABC | 350 | 34.5 | 121.5 | 3.5 | 4.8 | 3.9 | 7.3 | 7 | 18.1 | 8.6 | 65 | 2.6462 | 0.33 | 1.48
193 | VR0193 | P0000000128-4A | BUS-193 | RBUS-193 | 3PH | ABC | ABC | 950 | 7.2 | 121 | 1.9 | 1.2 | 6.2 | 3.9 | 12.9 | 13.9 | 8.4 | 90 | 2.9583 | 1.41 | 1.59
194 | VR0194 | P0000000129 | BUS-194 | RBUS-194 | 3PH | BAC | ABC | 325 | 7.2 | 119.8 | 1.3 | 9.1 | 3.1 | 1.3 | 19.4 | 13.5 | 17.7 | 85 | 2.1705 | 1.33 | 2.29
195 | VR0195 | P0000000130 | BUS-195 | RBUS-195 | 3PH | CAB | ABC | 425 | 23 | 119.7 | 3.8 | 7.6 | 5.4 | 8.9 | 14.8 | 19.6 | 18.5 | 190 | 2.3207 | 0.95 | 0.99
196 | VR0196 | P0000000130-16 | BUS-196 | RBUS-196 | 3PH | BCA | ABC | 825 | 34.5 | 120.6 | 1 | 8.6 | 1.1 | 3 | 6.5 | 10.9 | 11.9 | 95 | 2.2946 | 0.96 | 0.53
197 | VR0197 | P0000000130-20 | BUS-197 | RBUS-197 | 3PH | ACB | ABC | 325 | 13.8 | 118.8 | 2.5 | 6.3 | 4.9 | 6 | 7.9 | 15.2 | 14.8 | 40 | 2.8959 | 1.17 | 0.81
198 | VR0198 | P0000000130-25 | BUS-198 | RBUS-198 | 3PH | CBA | ABC | 350 | 23 | 118.4 | 2.9 | 5 | 1.6 | 5.4 | 10.8 | 12.3 | 19.5 | 115 | 2.7908 | 1.01 | 0.98
199 | VR0199 | P0000000130-31 | BUS-199 | RBUS-199 | 3PH | BAC | ABC | 275 | 23 | 121 | 2 | 6.4 | 5.9 | 5.1 | 12.8 | 8.3 | 18.7 | 195 | 2.3272 | 0.97 | 1.03
200 | VR0200 | P0000000130-31A | BUS-200 | RBUS-200 | 3PH | ABC | ABC | 300 | 23 | 119.6 | 2.6 | 6 | 1.2 | 8.7 | 17.8 | 5.3 | 14.5 | 150 | 2.4962 | 0.69 | 0.93
201 | VR0201 | P0000000130-31-4 | BUS-201 | RBUS-201 | 3PH | CAB | CBA | 275 | 7.2 | 121.3 | 2.2 | 2.1 | 6.1 | 3 | 16.2 | 7.8 | 10.8 | 40 | 2.311 | 0.71 | 1.26
202 | VR0202 | P0000000130-31-9 | BUS-202 | RBUS-202 | 3PH | ACB | ABC | 375 | 7.2 | 121.5 | 2.9 | 7.2 | 6.2 | 8.9 | 18.4 | 8.4 | 13.9 | 120 | 2.5421 | 0.25 | 2.35
203 | VR0203 | P0000000130-49 | BUS-203 | RBUS-203 | 3PH | CBA | ABC | 625 | 13.8 | 121.9 | 2.7 | 3.4 | 3.8 | 9.6 | 6.9 | 8.2 | 14 | 130 | 2.1002 | 0.98 | 0.98
204 | VR0204 | P0000000130-53 | BUS-204 | RBUS-204 | 3PH | BCA | ABC | 475 | 7.2 | 119.8 | 3.5 | 5.8 | 2.1 | 9.3 | 18.8 | 16.2 | 15.6 | 200 | 2.508 | 0.52 | 2.47
205 | VR0205 | P0000000130-53-8 | BUS-205 | RBUS-205 | 3PH | ACB | ABC | 600 | 7.2 | 119 | 2.5 | 3.9 | 4 | 7.9 | 13.1 | 19.7 | 13.9 | 35 | 2.6254 | 1.19 | 1.61
206 | VR0206 | P0000000130-53-20 | BUS-206 | RBUS-206 | 3PH | ABC | ABC | 900 | 7.2 | 119.3 | 2.8 | 2.9 | 9.2 | 3.8 | 16.5 | 6.1 | 14.8 | 135 | 2.956 | 0.22 | 2.19
207 | VR0207 | P0000000130-53-20F | BUS-207 | RBUS-207 | 3PH | CAB | ABC | 800 | 34.5 | 120.6 | 3.5 | 5.5 | 3 | 3.4 | 16.7 | 15.6 | 13 | 85 | 2.8371 | 1.38 | 2.05
208 | VR0208 | P0000000130-53-24 | BUS-208 | RBUS-208 | 3PH | BAC | ABC | 600 | 23 | 118.2 | 2.3 | 9.9 | 8.5 | 9.8 | 7.1 | 10.2 | 14.3 | 140 | 2.4578 | 0.59 | 0.78
209 | VR0209 | P0000000130-53-38 | BUS-209 | RBUS-209 | 3PH | BAC | ABC | 625 | 23 | 120.2 | 2.5 | 4.9 | 9.2 | 9.3 | 11.6 | 15.1 | 9.7 | 70 | 2.5302 | 0.73 | 1.34
210 | VR0210 | P0000000130-53-44 | BUS-210 | RBUS-210 | 3PH | CAB | ABC | 625 | 23 | 119.6 | 2.6 | 8.5 | 9.7 | 3.6 | 5.6 | 19.5 | 19.6 | 50 | 2.4609 | 0.59 | 0.88
211 | VR0211 | P0000000130-56 | BUS-211 | RBUS-211 | 3PH | ABC | ABC | 850 | 13.8 | 119.7 | 2 | 3.4 | 8.6 | 9.2 | 12.4 | 10.1 | 10.8 | 25 | 2.4272 | 0.6 | 0.84
212 | VR0212 | P0000000130-56-4 | BUS-212 | RBUS-212 | 3PH | CAB | ABC | 875 | 7.2 | 121.6 | 1.9 | 2.4 | 7.2 | 2.2 | 8.5 | 12.7 | 6.7 | 180 | 2.9663 | 0.2 | 1.4
213 | VR0213 | P0000000130-56-12 | BUS-213 | RBUS-213 | 3PH | CAB | ABC | 400 | 13.8 | 119.9 | 3 | 8.7 | 7.8 | 6.8 | 19.5 | 13.9 | 18.3 | 120 | 2.665 | 0.28 | 0.71
214 | VR0214 | P0000000130-62 | BUS-214 | RBUS-214 | 3PH | BCA | ABC | 425 | 13.8 | 121.4 | 2.8 | 6 | 3.4 | 9.2 | 13.9 | 6.7 | 6.4 | 130 | 2.1761 | 1.25 | 1.09
215 | VR0215 | P0000000130-63 | BUS-215 | RBUS-215 | 3PH | BAC | ABC | 925 | 7.2 | 120.2 | 2.9 | 2.3 | 7.4 | 4.3 | 15.4 | 6.6 | 6.7 | 140 | 2.4086 | 0.83 | 0.57
216 | VR0216 | P0000000130-70 | BUS-216 | RBUS-216 | 3PH | BAC | ABC | 900 | 7.2 | 118.6 | 2.1 | 1.5 | 4.3 | 1.7 | 5.8 | 11.3 | 15.5 | 100 | 2.4826 | 0.61 | 2.06
217 | VR0217 | P0000000130-88 | BUS-217 | RBUS-217 | 3PH | BAC | ABC | 725 | 34.5 | 120.3 | 1.4 | 1.7 | 3.9 | 8.8 | 5.8 | 13.2 | 14.6 | 75 | 2.6474 | 0.93 | 0.52
218 | VR0218 | P0000000130-88A | BUS-218 | RBUS-218 | 3PH | CBA | CBA | 400 | 23 | 119.6 | 3.7 | 2.5 | 2.1 | 7 | 16.1 | 11.2 | 17 | 135 | 2.179 | 0.29 | 2.26
219 | VR0219 | P0000000130-88A-18 | BUS-219 | RBUS-219 | 3PH | ACB | ABC | 325 | 7.2 | 120.8 | 3.3 | 8 | 4.9 | 9.8 | 17.2 | 10.3 | 9.9 | 175 | 2.5563 | 0.95 | 0.97
220 | VR0220 | P0000000130-98 | BUS-220 | RBUS-220 | 3PH | CBA | ABC | 900 | 34.5 | 121.5 | 3.5 | 6.3 | 7.6 | 7.1 | 17.9 | 11.3 | 10.5 | 135 | 2.0231 | 0.56 | 1.69
221 | VR0221 | P0000000130-98A | BUS-221 | RBUS-221 | 3PH | BCA | ABC | 700 | 13.8 | 120 | 1.6 | 8 | 6.4 | 8.5 | 15.1 | 10.7 | 5.1 | 95 | 2.3599 | 0.58 | 1.81
222 | VR0222 | P0000000130-117 | BUS-222 | RBUS-222 | 3PH | CAB | ABC | 700 | 34.5 | 119.2 | 2.8 | 8.4 | 9.6 | 6.1 | 14.6 | 15.7 | 13 | 165 | 2.4261 | 1.21 | 2.11
223 | VR0223 | P0000000132 | BUS-223 | RBUS-223 | 3PH | ABC | ABC | 625 | 13.8 | 118.1 | 1.4 | 6.8 | 3.5 | 9.4 | 14.5 | 7.6 | 9.2 | 150 | 2.396 | 0.59 | 1.2
224 | VR0224 | P0000000132-3 | BUS-224 | RBUS-224 | 3PH | BAC | ABC | 425 | 34.5 | 118.7 | 2 | 6.9 | 8.5 | 8.9 | 17.9 | 10.7 | 8.6 | 35 | 2.8879 | 0.86 | 0.65
225 | VR0225 | P0000000132-3B | BUS-225 | RBUS-225 | 3PH | BAC | ABC | 925 | 34.5 | 120.2 | 1.9 | 1.5 | 3.7 | 8.8 | 15.9 | 8.8 | 13.8 | 75 | 2.1212 | 0.74 | 0.54
226 | VR0226 | P0000000132-3D | BUS-226 | RBUS-226 | 3PH | BAC | ABC | 575 | 23 | 121 | 3.2 | 3.9 | 4.2 | 9.9 | 7.1 | 12.7 | 10.7 | 105 | 2.5972 | 0.75 | 0.98
227 | VR0227 | P0000000132-3D1 | BUS-227 | RBUS-227 | 3PH | CBA | ABC | 400 | 13.8 | 118.6 | 1.1 | 4.1 | 9.8 | 9.1 | 19.6 | 16.6 | 17.1 | 160 | 2.3632 | 0.73 | 0.72
228 | VR0228 | P0000000132-3E | BUS-228 | RBUS-228 | 3PH | CAB | ABC | 425 | 23 | 119 | 3.9 | 5.4 | 8.2 | 5.2 | 17.6 | 19.5 | 11.7 | 195 | 2.7042 | 1.17 | 1.4
229 | VR0229 | P0000000132-3G | BUS-229 | RBUS-229 | 3PH | BAC | ABC | 575 | 7.2 | 118 | 3.8 | 1.9 | 4.7 | 4.7 | 11.1 | 11.7 | 18 | 190 | 2.966 | 0.26 | 1.1
230 | VR0230 | P0000000132-3H | BUS-230 | RBUS-230 | 3PH | ABC | ABC | 725 | 34.5 | 119.8 | 3.7 | 6.5 | 8.8 | 2.4 | 7.6 | 10.2 | 19 | 135 | 2.8085 | 0.24 | 1.25
231 | VR0231 | P0000000132-3H1 | BUS-231 | RBUS-231 | 3PH | ABC | ABC | 700 | 7.2 | 121.4 | 2.1 | 2.9 | 4 | 9 | 10.4 | 19.5 | 11.3 | 55 | 2.7974 | 0.48 | 2.14
232 | VR0232 | P0000000132-3I | BUS-232 | RBUS-232 | 3PH | CBA | ABC | 350 | 23 | 121 | 1.4 | 6.2 | 6.3 | 5.5 | 12.2 | 14.8 | 10.9 | 105 | 2.6345 | 0.61 | 2.48
233 | VR0233 | P0000000132-5 | BUS-233 | RBUS-233 | 3PH | BCA | ABC | 425 | 34.5 | 121.8 | 1.9 | 5.3 | 1.3 | 1.6 | 14.4 | 10.7 | 14.7 | 165 | 2.1364 | 0.21 | 0.96
234 | VR0234 | P0000000132-9 | BUS-234 | RBUS-234 | 3PH | CBA | ABC | 850 | 34.5 | 119.4 | 2.8 | 2.7 | 3.2 | 4.2 | 18.3 | 10.7 | 18.8 | 90 | 2.3963 | 0.76 | 0.63
235 | VR0235 | P0000000132-14 | BUS-235 | RBUS-235 | 3PH | BAC | ABC | 750 | 23 | 119.1 | 2.3 | 8.9 | 4.2 | 3 | 14.7 | 14.5 | 11.5 | 90 | 2.611 | 1.37 | 2.12
236 | VR0236 | P0000000134 | BUS-236 | RBUS-236 | 3PH | BCA | CBA | 575 | 13.8 | 121 | 3.4 | 9.3 | 2.1 | 6.9 | 19.7 | 11.3 | 16.2 | 195 | 2.3181 | 0.81 | 2.39
237 | VR0237 | P0000000134-2 | BUS-237 | RBUS-237 | 3PH | ABC | CBA | 325 | 7.2 | 120.7 | 3 | 3.1 | 3.7 | 2.9 | 6.8 | 14.9 | 13.1 | 130 | 2.6228 | 0.51 | 1.99
238 | VR0238 | P0000000136 | BUS-238 | RBUS-238 | 3PH | ABC | ABC | 850 | 34.5 | 119.6 | 2.6 | 5.5 | 3.8 | 4.1 | 16.9 | 5.1 | 17 | 50 | 2.9667 | 0.92 | 0.68
239 | VR0239 | P0000000137 | BUS-239 | RBUS-239 | 3PH | CAB | ABC | 500 | 7.2 | 120.2 | 3.6 | 4.2 | 8.5 | 9.8 | 5.5 | 16.9 | 10.4 | 130 | 2.1769 | 1.16 | 0.71